## Read Me
Urology Instrument Tender Specification Sheet
Published by | AHCR (Advanced Health Care Resources) ¦ pulselith.in
Purpose | A working file for hospitals and government buyers to write a clear, neutral tender specification, compare bids and score suppliers.
How to use
1. Master Checklist | Go block by block (scope, technical, compliance, supply, warranty and AMC, commercial). Mark each item Mandatory or Desirable and write your requirement.
2. Product Parameters | Pick the product sections you need (lithotripter, bipolar TURP, cystoscopy set, PCNL set, general instruments) and fill in your own values.
3. Bid Scorecard | Score each bidder 0 to 5 on every criterion. Weighted scores and ranks calculate automatically.
4. Cost Comparison | Enter each bidder's quoted amounts to compare total cost of ownership, not just the equipment price.
Colour legend
Blue text on yellow | Cells you fill in or edit.
Black text | Formulas and fixed guidance. Do not overwrite.
Grey italic rows | Worked examples to show the format. Replace or delete them.
Assumptions and limits
Scoring weights | The default weights (total 100) are a starting suggestion by AHCR, not a rule. Change them to match your tender.
Example values | Example scores and amounts are for illustration only. They are not real prices or real bidders.
Specifications | The sheet lists what to specify, not the values. Set values from your clinical needs so the specification stays neutral and open to several suppliers.
Procurement rules | This is general guidance. Always follow your own organisation's procurement rules, tender templates and legal advice.

## Master Checklist
ID | Block | Item | What to specify | Priority | Your requirement | Status
Ex. | Warranty, AMC and spares | Warranty period and scope | What is covered, and whether consumables are excluded. | Mandatory | Example: comprehensive warranty including parts and labour; probes and loops excluded. Delete this row. | Drafted
A1 | Scope and quantity | Item description and use | Generic name, intended use and department. Describe function, not a brand. | Mandatory |  | Not started
A2 | Scope and quantity | Quantity and variants | Units per item, sizes and optional items. | Mandatory |  | Not started
A3 | Scope and quantity | Delivery locations and schedule | Sites, delivery period and any phased delivery. | Mandatory |  | Not started
A4 | Scope and quantity | Compatibility with existing equipment | Resectoscopes, endoscopes, towers, gas supply and accessories you already own. | Mandatory |  | Not started
B1 | Technical parameters | Performance parameters | Measurable ranges and limits, not brand-specific features. | Mandatory |  | Not started
B2 | Technical parameters | Materials and finish | Material grade, surface finish and corrosion resistance. | Mandatory |  | Not started
B3 | Technical parameters | Sterilisation and reprocessing | Method (for example autoclave), expected cycles and cleaning instructions. | Mandatory |  | Not started
B4 | Technical parameters | Accessories included | List every accessory with quantity. | Mandatory |  | Not started
B5 | Technical parameters | Electrical and gas requirements | Mains voltage and frequency, power, gas type and supply pressure. | Mandatory |  | Not started
B6 | Technical parameters | Dimensions, weight and packaging | Size limits for your OT and storage, and packaging needs. | Mandatory |  | Not started
C1 | Compliance and documents | Quality management certificate | Valid ISO 13485 certificate covering the product type. | Mandatory |  | Not started
C2 | Compliance and documents | CE certificate or equivalent | Certificate or declaration of conformity, with notified body where applicable. | Mandatory |  | Not started
C3 | Compliance and documents | Manufacturing or import licence | Indian manufacturing licence, or registration and import licence for imported devices, as applicable. | Mandatory |  | Not started
C4 | Compliance and documents | Manufacturer authorisation | OEM authorisation letter specific to this tender, if bidders are distributors. | Mandatory |  | Not started
C5 | Compliance and documents | Make in India local content | Local-content class and supporting certificate, if your tender applies a preference. | Mandatory |  | Not started
C6 | Compliance and documents | Instructions for use and literature | Brochure, IFU and language requirements. | Mandatory |  | Not started
C7 | Compliance and documents | Test reports and samples | Which reports or samples must be supplied, and by when. | Mandatory |  | Not started
D1 | Supply, installation and training | Delivery period and penalties | Delivery time and liquidated damages for delay. | Mandatory |  | Not started
D2 | Supply, installation and training | Installation and commissioning | Who installs, when, and what the site must have ready. | Mandatory |  | Not started
D3 | Supply, installation and training | User training | Number of sessions, staff to be trained and language. | Mandatory |  | Not started
D4 | Supply, installation and training | Packing, labelling and traceability | Batch or serial numbers and label requirements. | Mandatory |  | Not started
D5 | Supply, installation and training | Acceptance testing | Criteria and procedure for accepting the equipment. | Mandatory |  | Not started
E1 | Warranty, AMC and spares | Warranty period and scope | What is covered, and whether consumables are excluded. | Mandatory |  | Not started
E2 | Warranty, AMC and spares | Uptime and response time | Service response time and any uptime commitment. | Mandatory |  | Not started
E3 | Warranty, AMC and spares | Post-warranty AMC or CAMC rates | Require rates to be quoted in the bid and held for a stated period. | Mandatory |  | Not started
E4 | Warranty, AMC and spares | Spare parts availability | Number of years spares must remain available, with a price list. | Mandatory |  | Not started
E5 | Warranty, AMC and spares | Consumables and accessories pricing | Prices for probes, loops, tubing and other recurring items. | Mandatory |  | Not started
E6 | Warranty, AMC and spares | Local service support | Location and number of service engineers. | Mandatory |  | Not started
F1 | Commercial and evaluation | Bid security and performance security | As required by your tender rules. | Mandatory |  | Not started
F2 | Commercial and evaluation | Price basis and validity | Currency, Incoterm or delivery basis, taxes and price validity. | Mandatory |  | Not started
F3 | Commercial and evaluation | Payment terms | Payment milestones (delivery, installation, acceptance). | Mandatory |  | Not started
F4 | Commercial and evaluation | Evaluation method | For example lowest qualified bid or quality-and-cost based, as your rules allow. | Mandatory |  | Not started
F5 | Commercial and evaluation | Pre-bid clarification | Date, contact and format for bidder queries. | Mandatory |  | Not started
F6 | Commercial and evaluation | Demonstration or sample | Whether a demo or sample is needed before award. | Mandatory |  | Not started
Progress |  | 0 of 34 items reviewed

## Product Parameters
Product | Parameter | What to specify | Priority | Your value
Ex. Pneumatic lithotripter | Gas input | Oxygen or compressed air, and the inlet supply pressure your facility provides. | Mandatory | Example: oxygen or compressed air; our supply is 5 kg/cm2. Delete this row.
Pneumatic lithotripter | Pulse modes | Which modes you need (for example single and multiple pulse). | Mandatory
Pneumatic lithotripter | Frequency range | Adjustable impact frequency range needed for your cases. | Mandatory
Pneumatic lithotripter | Operating pressure | Output pressure range and whether it is adjustable and displayed. | Mandatory
Pneumatic lithotripter | Gas input | Oxygen or compressed air, and the inlet supply pressure your facility provides. | Mandatory
Pneumatic lithotripter | Probe diameters and lengths | Diameters for URS and PCNL, and the working lengths your endoscopes need. | Mandatory
Pneumatic lithotripter | Probes and handpieces supplied | Quantity of each probe size and number of handpieces. | Mandatory
Pneumatic lithotripter | Handpiece length and weight | Maximum weight and length for comfortable use. | Mandatory
Pneumatic lithotripter | Foot switch | Single or dual, wired or wireless. | Mandatory
Pneumatic lithotripter | Regulator and tubing | Included or not, and connector type. | Mandatory
Pneumatic lithotripter | Compressor | Dedicated compressor included or not, and noise limit. | Mandatory
Pneumatic lithotripter | Mains supply | Voltage, frequency and power consumption limits. | Mandatory
Bipolar TURP system | Generator output power | Maximum power and adjustability. | Mandatory
Bipolar TURP system | Cutting and coagulation modes | Modes and settings required. | Mandatory
Bipolar TURP system | Irrigation fluid | Compatibility with normal saline. | Mandatory
Bipolar TURP system | Resectoscope and loops | Compatible resectoscope sizes, and whether loops are reusable or disposable. | Mandatory
Bipolar TURP system | Safety features | Alarms, automatic cut-off and fault indication. | Mandatory
Bipolar TURP system | Cables and accessories included | List with quantities. | Mandatory
Bipolar TURP system | Compatibility with existing resectoscopes | State what you own so bidders can confirm fit. | Mandatory
Bipolar TURP system | Electrical safety and mains | Safety classification and supply requirements. | Mandatory
Cystoscopy set | Sheath sizes and obturators | Fr sizes needed and whether obturators are included. | Mandatory
Cystoscopy set | Telescope diameter and viewing angle | Diameter and angle (for example 0, 30 or 70 degrees). | Mandatory
Cystoscopy set | Optical performance | Field of view and image clarity requirements. | Mandatory
Cystoscopy set | Light cable and connectors | Connector standard to match your light source. | Mandatory
Cystoscopy set | Bridge and working channel | Working channel size and instrument compatibility. | Mandatory
Cystoscopy set | Stopcocks and irrigation | Number and type. | Mandatory
Cystoscopy set | Material and sterilisation | Material and whether it is autoclavable. | Mandatory
Cystoscopy set | Set contents and case | Full component list and storage case. | Mandatory
PCNL set | Needles | Type, gauge and length. | Mandatory
PCNL set | Guidewires | Type, diameter and length. | Mandatory
PCNL set | Dilators | Type and sizes. | Mandatory
PCNL set | Sheaths | Sizes and working length. | Mandatory
PCNL set | Forceps and accessories | Types and quantities. | Mandatory
PCNL set | Material and reusability | Material, finish and expected reprocessing cycles. | Mandatory
PCNL set | Sterilisation and case | Method and tray or case. | Mandatory
General reusable instruments | Material grade | Medical-grade stainless steel grade or equivalent. | Mandatory
General reusable instruments | Surface finish | Finish type and glare requirements. | Mandatory
General reusable instruments | Corrosion resistance | Passivation and any test required. | Mandatory
General reusable instruments | Dimensions and tolerance | Critical dimensions and tolerances. | Mandatory
General reusable instruments | Markings | Size, lot and manufacturer marking. | Mandatory
General reusable instruments | Packaging | Packaging type and protective inner packing. | Mandatory
General reusable instruments | Reprocessing cycles | Number of cleaning and sterilisation cycles expected. | Mandatory

## Bid Scorecard
Bid scorecard
Score each bidder 0 (fails) to 5 (excellent). Weights total 100. Example scores for Bidders A to C are for illustration only: overwrite them.
Criterion | Weight (%) | Bidder A (example) | Bidder B (example) | Bidder C (example) | Bidder D | Bidder E
Technical compliance with the specification | 30 | 5 | 4 | 3
Product quality (sample or demonstration) | 15 | 4 | 4 | 3
Compliance documents and certificates | 10 | 5 | 3 | 4
Delivery and installation plan | 10 | 4 | 4 | 3
Warranty, AMC and spare parts | 15 | 4 | 3 | 4
Training and local support | 5 | 4 | 3 | 3
Price (landed cost) | 15 | 3 | 5 | 4
Weights total (must equal 100) | 100 | OK
Weighted score (out of 100) |  | 85 | 77 | 68
Rank (1 = highest) |  | 1 | 2 | 3
Notes
Default weights are a starting suggestion by AHCR. Change them to match your tender.
If your rules award to the lowest qualified bid, use this sheet to decide which bidders are technically qualified, then compare prices on the Cost Comparison sheet.
Record the reason for each low score so the evaluation can be defended.

## Cost Comparison
Total cost of ownership comparison
Enter every amount in one currency. Row for Bidder A shows an example with made-up numbers: overwrite it.
Bidder | Quantity | Unit price | Equipment total | Consumables and accessories (years 1 to 5) | AMC after warranty (total) | Installation and training | Freight, duty and taxes | Total cost of ownership | Cost per unit | Versus lowest
Bidder A (example) | 2 | 1000 | 2000 | 1200 | 1500 | 400 | 300 | 5400 | 2700 | 0%
Bidder B |  |  | 0 |  |  |  |  | 0
Bidder C |  |  | 0 |  |  |  |  | 0
Bidder D |  |  | 0 |  |  |  |  | 0
Bidder E |  |  | 0 |  |  |  |  | 0
Lowest total cost of ownership | [7 empty] | 5400
Unused bidder rows can stay blank: only totals above zero are compared.
Consumables: probes, loops, tubing and other recurring items over five years. AMC: charges after the warranty ends, over the same period.